{"text_format":"2","workbook":"xlsx","n_sheets":1,"sheets":["设备一览表"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"设备一览表","index":0,"n_rows":218,"n_cols":7,"rows_kept":218,"cut":false,"hidden":false,"merged":[[2,4,2,5],[2,0,3,0],[2,1,3,1],[2,2,3,2],[2,3,3,3],[2,6,3,6],[0,0,1,6]]}
["仪器设备一览表"]
[]
["序号","仪器设备名称","规格型号","出厂编号","技术指标",null,"制造厂家/供应商"]
[{"$nulls":4},"量程","准确度等级/最大允许误差/测量不确定度"]
[1,"静重式力标准机","CJS-74  10kN","B8301","（1～10）kN","0.01级","长春试验机研究所"]
[2,"叠加式力标准机","LBB-500 500kN",2005106,"（50 ~ 500）kN","0.03级","长春试验机研究所"]
[3,"电子万能试验机","CSS-88100","2005124","(10~100) kN"," Urel=0.3% （k=2）","长春试验机研究所"]
[4,"电子万能试验机","DNS300","2011148","300 kN"," Urel=0.3% （k=2）","长春机械科学研究院有限公司"]
[5,"电子万能试验机","DDL10","2010126","10 kN"," Urel=0.3% （k=2）","长春机械科学研究院有限公司"]
[6,"电子万能试验机","DDL100","2020126","（2~100） kN"," Urel=0.3% （k=2）","长春机械科学研究院有限公司"]
[7,"微机控制钢绞线松弛试验机","SXW-300","2005148","(30~300)kN"," Urel=0.3%（k=2）","长春试验机研究所"]
[8,"液压万能试验机","YNS2000","2011196","2000 kN"," Urel=0.3% （k=2）","长春机械科学研究院有限公司"]
[9,"扭转试验机","NWS1000",2015115,"1000Nm"," Urel=0.14% （k=2）","长春机械科学研究院有限公司"]
[10,"电液伺服动静试验机","SDM500 ","2011318","(20~500) kN"," Urel=0.3% （k=2）","长春机械科学研究院有限公司"]
[11,"电液伺服疲劳试验机",8801,"MTB20852","(20~100) kN"," Urel=0.3% （k=2）","INSTRON"]
[12,"电液伺服疲劳试验机","SDS100","20160228","(10~100)kN"," Urel=0.3% （k=2）","长春机械科学研究院有限公司"]
[13,"电液伺服疲劳试验机","SDS100","20160824","(10~100)kN"," Urel=0.3% （k=2）","长春机械科学研究院有限公司"]
[14,"电液伺服疲劳试验机","SDS-100","ZY218034F-1","(10~100)kN"," Urel=0.3% （k=2）","中机试验装备股份有限公司"]
[15,"电液伺服疲劳试验机","SDS-100","ZY218034F-2","(10~100)kN"," Urel=0.3% （k=2）","中机试验装备股份有限公司"]
[16,"电液伺服疲劳试验机","SDS-100","ZY218034F-3","(10~100)kN"," Urel=0.3% （k=2）","中机试验装备股份有限公司"]
[17,"电液伺服疲劳试验机","SDS-100","ZY218034F-4","(10~100)kN"," Urel=0.3% （k=2）","中机试验装备股份有限公司"]
[18,"电液伺服疲劳试验机","SDS-100","ZY218034F-5","(10~100)kN"," Urel=0.3% （k=2）","中机试验装备股份有限公司"]
[19,"电液伺服疲劳试验机","SDS-100","ZY218034F-6","(10~100)kN"," Urel=0.3% （k=2）","中机试验装备股份有限公司"]
[20,"电液伺服疲劳试验机","SDS-300","ZY226027F-1","（30~300）kN","试验力：Urel = 0.3%（k=2）\n位移：Urel = 0.3%（k=2）\n\n","中机试验装备股份有限公司"]
[21,"电液伺服疲劳试验机","SDS-1000","ZY228106K","(100~1000)kN"," Urel=0.3% （k=2）","中机试验装备股份有限公司"]
[22,"电液伺服疲劳试验机","SDS-1000","SMP208020PZ","(100~1000)kN"," Urel=0.3% （k=2）","中机试验装备股份有限公司"]
[23,"电液伺服疲劳试验机","四立柱1000kN","ZY238018F","(100~1000)kN"," Urel=0.3% （k=2）","中机试验装备股份有限公司"]
[24,"高频疲劳试验机","GPS200","2011094","(4~200) kN"," Urel=0.3% （k=2）","长春机械科学研究院有限公司"]
[25,"高频疲劳试验机","GPS200","20160424","(20~200) kN"," Urel=0.3% （k=2）","长春机械科学研究院有限公司"]
[26,"高频疲劳试验机","GPS100","2012172","(4~100) kN"," Urel=0.3% （k=2）","长春机械科学研究院有限公司"]
[27,"高频疲劳试验机","GPS20","2014180","(1~20) kN"," Urel=0.3% （k=2）","长春机械科学研究院有限公司"]
[28,"高频疲劳试验机","GPS200","20180317","(4~200) kN"," Urel=0.3% （k=2）","长春机械科学研究院有限公司"]
[29,"高频疲劳试验机","GPS200","20160403","(4~200) kN"," Urel=0.3% （k=2）","长春机械科学研究院有限公司"]
[30,"高频疲劳试验机","BPV-FV0250.00.00",729266,"(0~250) kN"," Urel=0.3% （k=2）","Zwick/Roell"]
[31,"电液伺服疲劳试验机","370.10","10660548","(2~100)kN"," Urel=0.3% （k=2）","MTS"]
[32,"电液伺服疲劳试验机","370.10","10660547","(2~100)kN"," Urel=0.3% （k=2）","MTS"]
[33,"旋转纯弯曲疲劳试验机","PQ-60","024","(6.0~60.0)Nm"," Urel=0.4% （k=2）","宁夏绿水青山试验机有限公司"]
[34,"4500kN疲劳测试台","SDS-4500","20220501","(0~4500)kN"," Urel=0.3% （k=2）","中机检测有限公司"]
[35,"电子蠕变试验机","RWS50","2010239-1","50kN"," Urel=0.3% （k=2）","长春机械科学研究院有限公司"]
[36,"电子蠕变试验机","RWS50","2010239-2","50kN"," Urel=0.3% （k=2）","长春机械科学研究院有限公司"]
[37,"电子蠕变试验机","RWS50","2010239-3","50kN"," Urel=0.3% （k=2）","长春机械科学研究院有限公司"]
[38,"电子蠕变试验机","RWS50","2010239-4","50kN"," Urel=0.3% （k=2）","长春机械科学研究院有限公司"]
[39,"电子蠕变试验机","RWS50","2010239-5","50kN"," Urel=0.3% （k=2）","长春机械科学研究院有限公司"]
[40,"电子蠕变试验机","RWS50","2010239-6","50kN"," Urel=0.3% （k=2）","长春机械科学研究院有限公司"]
[41,"电子蠕变试验机","RWS50","2010239-7","50kN"," Urel=0.3% （k=2）","长春机械科学研究院有限公司"]
[42,"电子蠕变试验机","RWS50","2010239-8","50kN"," Urel=0.3% （k=2）","长春机械科学研究院有限公司"]
[43,"电子蠕变试验机","RWS50","2010239-9","50kN"," Urel=0.3% （k=2）","长春机械科学研究院有限公司"]
[44,"电子蠕变试验机","RWS50","2010239-10","50kN"," Urel=0.3% （k=2）","长春机械科学研究院有限公司"]
[45,"电子蠕变试验机","RWS50","20170453-1","50kN"," Urel=0.3% （k=2）","长春机械科学研究院有限公司"]
[46,"电子蠕变试验机","RWS50","20170453-2","50kN"," Urel=0.3% （k=2）","长春机械科学研究院有限公司"]
[47,"电子蠕变试验机","RWS50","20170453-3","50kN"," Urel=0.3% （k=2）","长春机械科学研究院有限公司"]
[48,"电子蠕变试验机","RWS50","20170453-4","50kN"," Urel=0.3% （k=2）","长春机械科学研究院有限公司"]
[49,"电子蠕变试验机","RWS100","20170453-5","100kN"," Urel=0.3% （k=2）","长春机械科学研究院有限公司"]
[50,"机械蠕变试验机","RDJ50","20170453-6","50kN"," Urel=0.3% （k=2）","长春机械科学研究院有限公司"]
[51,"机械蠕变试验机","RDJ50","20170453-7","50kN"," Urel=0.3% （k=2）","长春机械科学研究院有限公司"]
[52,"机械蠕变试验机","RDJ50","20170453-8","50kN"," Urel=0.3% （k=2）","长春机械科学研究院有限公司"]
[53,"机械蠕变试验机","RDJ50","20170453-9","50kN"," Urel=0.3% （k=2）","长春机械科学研究院有限公司"]
[54,"机械蠕变试验机","RDJ50","20170453-10","50kN"," Urel=0.3% （k=2）","长春机械科学研究院有限公司"]
[55,"机械蠕变试验机","RDJ50","20170453-11","50kN"," Urel=0.3% （k=2）","长春机械科学研究院有限公司"]
[56,"机械蠕变试验机","RDJ50","20170453-12","50kN"," Urel=0.3% （k=2）","长春机械科学研究院有限公司"]
[57,"机械蠕变试验机","RDJ50","20170453-13","50kN"," Urel=0.3% （k=2）","长春机械科学研究院有限公司"]
[58,"机械蠕变试验机","RDJ50","20170453-14","50kN"," Urel=0.3% （k=2）","长春机械科学研究院有限公司"]
[59,"机械蠕变试验机","RDJ50","20170453-15","50kN"," Urel=0.3% （k=2）","长春机械科学研究院有限公司"]
[60,"机械蠕变试验机","RDJ30","20170453-16","30kN"," Urel=0.3% （k=2）","长春机械科学研究院有限公司"]
[61,"机械蠕变试验机","RDJ30","20170453-17","30kN"," Urel=0.3% （k=2）","长春机械科学研究院有限公司"]
[62,"机械蠕变试验机","RDJ50","20170453-18","50kN"," Urel=0.3% （k=2）","长春机械科学研究院有限公司"]
[63,"机械蠕变试验机","RDJ80","20170453-19","80kN"," Urel=0.3% （k=2）","长春机械科学研究院有限公司"]
[64,"机械蠕变试验机","RDJ30","2015101-01","（0~30）kN","Urel=0.3%   (k=2)","长春机械科学研究院有限公司"]
[65,"机械蠕变试验机","RDJ30","2015101-02","（0~30）kN","Urel=0.3%   (k=2)","长春机械科学研究院有限公司"]
[66,"机械蠕变试验机","RDJ30","2015101-03","（0~30）kN","Urel=0.3%   (k=2)","长春机械科学研究院有限公司"]
[67,"机械蠕变试验机","RDJ30","2015101-04","（0~30）kN","Urel=0.3%   (k=2)","长春机械科学研究院有限公司"]
[68,"机械蠕变试验机","RDJ50","2015101-05","（0~50）kN","Urel=0.3%   (k=2)","长春机械科学研究院有限公司"]
[69,"机械蠕变试验机","RDJ50","2015101-06","（0~50）kN","Urel=0.3%   (k=2)","长春机械科学研究院有限公司"]
[70,"机械蠕变试验机","RDJ30","2015154-1","（0~30）kN","Urel=0.3%   (k=2)","长春机械科学研究院有限公司"]
[71,"机械蠕变试验机","RDJ30","2015154-2","（0~30）kN","Urel=0.3%   (k=2)","长春机械科学研究院有限公司"]
[72,"机械蠕变试验机","RDJ30","2015154-3","（0~30）kN","Urel=0.3%   (k=2)","长春机械科学研究院有限公司"]
[73,"机械蠕变试验机","RDJ30","2015154-4","（0~30）kN","Urel=0.3%   (k=2)","长春机械科学研究院有限公司"]
[74,"机械蠕变试验机","RDJ50","2015154-5","（0~50）kN","Urel=0.3%   (k=2)","长春机械科学研究院有限公司"]
[75,"机械蠕变试验机","RDJ50","2015154-6","（0~50）kN","Urel=0.3%   (k=2)","长春机械科学研究院有限公司"]
[76,"电子蠕变试验机","RDL50","20160378-1","（0~50）kN","Urel=0.3%   (k=2)","长春机械科学研究院有限公司"]
[77,"电子蠕变试验机","RDL50","20160378-2","（0~50）kN","Urel=0.3%   (k=2)","长春机械科学研究院有限公司"]
[78,"电子蠕变试验机","RDL50","20160378-3","（0~50）kN","Urel=0.3%   (k=2)","长春机械科学研究院有限公司"]
[79,"电子蠕变试验机","RDL50","20160378-4","（0~50）kN","Urel=0.3%   (k=2)","长春机械科学研究院有限公司"]
[80,"电子蠕变试验机","RDL50","20160378-5","（0~50）kN","Urel=0.3%   (k=2)","长春机械科学研究院有限公司"]
[81,"电子蠕变试验机","RDL50","20160378-6","（0~50）kN","Urel=0.3%   (k=2)","长春机械科学研究院有限公司"]
[82,"电子蠕变试验机","RDL50","20160378-7","（0~50）kN","Urel=0.3%   (k=2)","长春机械科学研究院有限公司"]
[83,"电子蠕变试验机","RDL50","20160378-8","（0~50）kN","Urel=0.3%   (k=2)","长春机械科学研究院有限公司"]
[84,"电子蠕变试验机","RDL50","20160378-9","（0~50）kN","Urel=0.3%   (k=2)","长春机械科学研究院有限公司"]
[85,"电子蠕变试验机","RDL50","20160378-10","（0~50）kN","Urel=0.3%   (k=2)","长春机械科学研究院有限公司"]
[86,"电子蠕变试验机","RDL50","20200308-1","（0.5~50）kN","Urel=0.3%   (k=2)","中机试验装备股份有限公司"]
[87,"电子蠕变试验机","RDL50","20200308-2","（0.5~50）kN","Urel=0.3%   (k=2)","中机试验装备股份有限公司"]
[88,"电子蠕变试验机","RDL50","20200308-3","（0.5~50）kN","Urel=0.3%   (k=2)","中机试验装备股份有限公司"]
[89,"电子蠕变试验机","RDL50","20200308-4","（0.5~50）kN","Urel=0.3%   (k=2)","中机试验装备股份有限公司"]
[90,"电子蠕变试验机","RDL50","20200308-5","（0.5~50）kN","Urel=0.3%   (k=2)","中机试验装备股份有限公司"]
[91,"电子蠕变试验机","RDL50","20200308-6","（0.5~50）kN","Urel=0.3%   (k=2)","中机试验装备股份有限公司"]
[92,"电子蠕变试验机","RDL50","20200308-7","（0.5~50）kN","Urel=0.3%   (k=2)","中机试验装备股份有限公司"]
[93,"电子蠕变试验机","RDL50","20200308-8","（0.5~50）kN","Urel=0.3%   (k=2)","中机试验装备股份有限公司"]
[94,"电子蠕变试验机","RDL50","20200308-9","（0.5~50）kN","Urel=0.3%   (k=2)","中机试验装备股份有限公司"]
[95,"电子蠕变试验机","RDL50","20200308-10","（0.5~50）kN","Urel=0.3%   (k=2)","中机试验装备股份有限公司"]
[96,"电子蠕变试验机","RDL50","20200308-11","（0.5~50）kN","Urel=0.3%   (k=2)","中机试验装备股份有限公司"]
[97,"电子蠕变试验机","RDL50","20200308-12","（0.5~50）kN","Urel=0.3%   (k=2)","中机试验装备股份有限公司"]
[98,"电子蠕变试验机","RDL50","20200308-13","（0.5~50）kN","Urel=0.3%   (k=2)","中机试验装备股份有限公司"]
[99,"电子蠕变试验机","RDL50","20200308-14","（0.5~50）kN","Urel=0.3%   (k=2)","中机试验装备股份有限公司"]
[100,"电子蠕变试验机","RDL50","20200308-15","（0.5~50）kN","Urel=0.3%   (k=2)","中机试验装备股份有限公司"]
[101,"电子蠕变试验机","RDL50","20200308-16","（0.5~50）kN","Urel=0.3%   (k=2)","中机试验装备股份有限公司"]
[102,"电子蠕变试验机","RDL50","20200308-17","（0.5~50）kN","Urel=0.3%   (k=2)","中机试验装备股份有限公司"]
[103,"电子蠕变试验机","RDL50","20200308-18","（0.5~50）kN","Urel=0.3%   (k=2)","中机试验装备股份有限公司"]
[104,"电子蠕变试验机","RDL50","20200308-19","（0.5~50）kN","Urel=0.3%   (k=2)","中机试验装备股份有限公司"]
[105,"电子蠕变试验机","RDL50","20200308-20","（0.5~50）kN","Urel=0.3%   (k=2)","中机试验装备股份有限公司"]
[106,"电子蠕变试验机","RWS50","20200308-21","（0.5~50）kN","Urel=0.3%   (k=2)","中机试验装备股份有限公司"]
[107,"电子蠕变试验机","RWS50","20200308-22","（0.5~50）kN","Urel=0.3%   (k=2)","中机试验装备股份有限公司"]
[108,"电子蠕变试验机","RWS50","20200308-23","（0.5~50）kN","Urel=0.3%   (k=2)","中机试验装备股份有限公司"]
[109,"电子蠕变试验机","RWS50","20200308-24","（0.5~50）kN","Urel=0.3%   (k=2)","中机试验装备股份有限公司"]
[110,"电子蠕变试验机","RWS50","20200308-25","（0.5~50）kN","Urel=0.3%   (k=2)","中机试验装备股份有限公司"]
[111,"电子蠕变试验机","RWS50","20200308-26","（0.5~50）kN","Urel=0.3%   (k=2)","中机试验装备股份有限公司"]
[112,"电子蠕变试验机","RWS50","20200308-27","（0.5~50）kN","Urel=0.3%   (k=2)","中机试验装备股份有限公司"]
[113,"电子蠕变试验机","RWS50","20200308-28","（0.5~50）kN","Urel=0.3%   (k=2)","中机试验装备股份有限公司"]
[114,"电子蠕变试验机","RWS50","20200308-29","（0.5~50）kN","Urel=0.3%   (k=2)","中机试验装备股份有限公司"]
[115,"电子蠕变试验机","RWS50","20200308-30","（0.5~50）kN","Urel=0.3%   (k=2)","中机试验装备股份有限公司"]
[116,"电子蠕变试验机","RWS50","20200308-31","（0.5~50）kN","Urel=0.3%   (k=2)","中机试验装备股份有限公司"]
[117,"电子蠕变试验机","RWS50","20200308-32","（0.5~50）kN","Urel=0.3%   (k=2)","中机试验装备股份有限公司"]
[118,"电子蠕变试验机","RWS50","20200308-33","（0.5~50）kN","Urel=0.3%   (k=2)","中机试验装备股份有限公司"]
[119,"电子蠕变试验机","RWS50","20200308-34","（0.5~50）kN","Urel=0.3%   (k=2)","中机试验装备股份有限公司"]
[120,"电子蠕变试验机","RWS50","20200308-35","（0.5~50）kN","Urel=0.3%   (k=2)","中机试验装备股份有限公司"]
[121,"电子蠕变试验机","RWS50","20200308-36","（0.5~50）kN","Urel=0.3%   (k=2)","中机试验装备股份有限公司"]
[122,"电子蠕变试验机","RWS50","20200308-37","（0.5~50）kN","Urel=0.3%   (k=2)","中机试验装备股份有限公司"]
[123,"电子蠕变试验机","RWS50","20200308-38","（0.5~50）kN","Urel=0.3%   (k=2)","中机试验装备股份有限公司"]
[124,"电子蠕变试验机","RWS50","20200308-39","（0.5~50）kN","Urel=0.3%   (k=2)","中机试验装备股份有限公司"]
[125,"电子蠕变试验机","RWS50","20200308-40","（0.5~50）kN","Urel=0.3%   (k=2)","中机试验装备股份有限公司"]
[126,"电子蠕变持久试验机","RDL100","20200306-1","（0.5~100）kN","Urel=0.3%   (k=2)","中机试验装备股份有限公司"]
[127,"电子蠕变持久试验机","RDL100","20200306-2","（0.5~100）kN","Urel=0.3%   (k=2)","中机试验装备股份有限公司"]
[128,"电子蠕变持久试验机","RDL100","20200306-3","（0.5~100）kN","Urel=0.3%   (k=2)","中机试验装备股份有限公司"]
[129,"电子蠕变持久试验机","RDL100","20200306-4","（0.5~100）kN","Urel=0.3%   (k=2)","中机试验装备股份有限公司"]
[130,"电子蠕变持久试验机","RDL100","20200306-5","（0.5~100）kN","Urel=0.3%   (k=2)","中机试验装备股份有限公司"]
[131,"电子蠕变持久疲劳试验机","RPL100","20200307-1","（1kN~100kN）","Urel=0.3%   (k=2)","中机试验装备股份有限公司"]
[132,"电子蠕变持久疲劳试验机","RPL100","20200307-2","（1kN~100kN）","Urel=0.3%   (k=2)","中机试验装备股份有限公司"]
[133,"电子蠕变持久疲劳试验机","RPL100","20200307-3","（1kN~100kN）","Urel=0.3%   (k=2)","中机试验装备股份有限公司"]
[134,"电子蠕变持久疲劳试验机","RPL100","20200307-4","（1kN~100kN）","Urel=0.3%   (k=2)","中机试验装备股份有限公司"]
[135,"电子蠕变持久疲劳试验机","RPL100","20200307-5","（1kN~100kN）","Urel=0.3%   (k=2)","中机试验装备股份有限公司"]
[136,"电子蠕变松弛试验机","RDL50","20200376-1","（0.5kN~50kN）","Urel=0.3%   (k=2)","中机试验装备股份有限公司"]
[137,"电子蠕变松弛试验机","RDL50","20200376-2","（0.5kN~50kN）","Urel=0.3%   (k=2)","中机试验装备股份有限公司"]
[138,"电子蠕变松弛试验机","RDL50","20200376-3","（0.5kN~50kN）","Urel=0.3%   (k=2)","中机试验装备股份有限公司"]
[139,"电子蠕变松弛试验机","RDL50","20200376-4","（0.5kN~50kN）","Urel=0.3%   (k=2)","中机试验装备股份有限公司"]
[140,"电子蠕变松弛试验机","RDL50","20200376-5","（0.5kN~50kN）","Urel=0.3%   (k=2)","中机试验装备股份有限公司"]
[141,"电子蠕变松弛试验机","RDL50","20200376-6","（0.5kN~50kN）","Urel=0.3%   (k=2)","中机试验装备股份有限公司"]
[142,"电子蠕变松弛试验机","RDL50","20200376-7","（0.5kN~50kN）","Urel=0.3%   (k=2)","中机试验装备股份有限公司"]
[143,"电子蠕变松弛试验机","RDL50","20200376-8","（0.5kN~50kN）","Urel=0.3%   (k=2)","中机试验装备股份有限公司"]
[144,"电子蠕变松弛试验机","RDL50","20200376-9","（0.5kN~50kN）","Urel=0.3%   (k=2)","中机试验装备股份有限公司"]
[145,"电子蠕变松弛试验机","RDL50","20200376-10","（0.5kN~50kN）","Urel=0.3%   (k=2)","中机试验装备股份有限公司"]
[146,"电子蠕变松弛试验机","RDL50","20200376-11","（0.5kN~50kN）","Urel=0.3%   (k=2)","中机试验装备股份有限公司"]
[147,"电子蠕变松弛试验机","RDL50","20200376-12","（0.5kN~50kN）","Urel=0.3%   (k=2)","中机试验装备股份有限公司"]
[148,"电子蠕变松弛试验机","RDL50","20200376-13","（0.5kN~50kN）","Urel=0.3%   (k=2)","中机试验装备股份有限公司"]
[149,"电子蠕变松弛试验机","RDL50","20200376-14","（0.5kN~50kN）","Urel=0.3%   (k=2)","中机试验装备股份有限公司"]
[150,"电子蠕变松弛试验机","RDL50","20200376-15","（0.5kN~50kN）","Urel=0.3%   (k=2)","中机试验装备股份有限公司"]
[151,"电子蠕变松弛试验机","RDL50","20200376-16","（0.5kN~50kN）","Urel=0.3%   (k=2)","中机试验装备股份有限公司"]
[152,"电子蠕变松弛试验机","RDL50","20200376-17","（0.5kN~50kN）","Urel=0.3%   (k=2)","中机试验装备股份有限公司"]
[153,"电子蠕变松弛试验机","RDL50","20200376-18","（0.5kN~50kN）","Urel=0.3%   (k=2)","中机试验装备股份有限公司"]
[154,"电子蠕变松弛试验机","RDL50","20200376-19","（0.5kN~50kN）","Urel=0.3%   (k=2)","中机试验装备股份有限公司"]
[155,"电子蠕变松弛试验机","RDL50","20200376-20","（0.5kN~50kN）","Urel=0.3%   (k=2)","中机试验装备股份有限公司"]
[156,"电子蠕变松弛试验机","RDL50","20200376-21","（0.5kN~50kN）","Urel=0.3%   (k=2)","中机试验装备股份有限公司"]
[157,"电子蠕变松弛试验机","RDL50","20200376-22","（0.5kN~50kN）","Urel=0.3%   (k=2)","中机试验装备股份有限公司"]
[158,"电子蠕变松弛试验机","RDL50","20200376-23","（0.5kN~50kN）","Urel=0.3%   (k=2)","中机试验装备股份有限公司"]
[159,"电子蠕变松弛试验机","RDL50","20200376-24","（0.5kN~50kN）","Urel=0.3%   (k=2)","中机试验装备股份有限公司"]
[160,"电子蠕变松弛试验机","RDL50","20200376-25","（0.5kN~50kN）","Urel=0.3%   (k=2)","中机试验装备股份有限公司"]
[161,"电子蠕变松弛试验机","RDL50","20200376-26","（0.5kN~50kN）","Urel=0.3%   (k=2)","中机试验装备股份有限公司"]
[162,"电子蠕变松弛试验机","RDL50","20200376-27","（0.5kN~50kN）","Urel=0.3%   (k=2)","中机试验装备股份有限公司"]
[163,"电子蠕变松弛试验机","RDL50","20200376-28","（0.5kN~50kN）","Urel=0.3%   (k=2)","中机试验装备股份有限公司"]
[164,"电子蠕变松弛试验机","RDL50","20200376-29","（0.5kN~50kN）","Urel=0.3%   (k=2)","中机试验装备股份有限公司"]
[165,"电子蠕变松弛试验机","RDL50","20200376-30","（0.5kN~50kN）","Urel=0.3%   (k=2)","中机试验装备股份有限公司"]
[166,"电子蠕变持久试验机","RDL50","20210392-37","（0.5kN~50kN）","Urel=0.3%   (k=2)","中机试验装备股份有限公司"]
[167,"电子蠕变持久试验机","RDL50","20210392-38","（0.5kN~50kN）","Urel=0.3%   (k=2)","中机试验装备股份有限公司"]
[168,"电子蠕变持久试验机","RDL50","20210392-39","（0.5kN~50kN）","Urel=0.3%   (k=2)","中机试验装备股份有限公司"]
[169,"电子蠕变持久试验机","RDL50","20210392-40","（0.5kN~50kN）","Urel=0.3%   (k=2)","中机试验装备股份有限公司"]
[170,"电子蠕变持久试验机","RDL50","20210393-31","（0.5kN~50kN）","Urel=0.3%   (k=2)","中机试验装备股份有限公司"]
[171,"电子蠕变持久试验机","RDL50","20210393-32","（0.5kN~50kN）","Urel=0.3%   (k=2)","中机试验装备股份有限公司"]
[172,"电子蠕变持久试验机","RDL50","20210393-33","（0.5kN~50kN）","试验力：Urel=0.3%   (k=2)\n同轴度：Urel=2.0%   (k=2)\n温度：Urel=1.0℃   (k=2)\n变形：当变形量（0.1~0.3）mm时，U=0.9μm（k=2）\n当变形量（大于0.3~10.0）mm时，Urel=0.28% （k=2）\n温控表：（0~600）℃时，U=0.4℃（k=2）\n（大于600~1600）℃时，U=0.5℃（k=2）","中机试验装备股份有限公司"]
[173,"电子蠕变持久试验机","RDL50","20210393-34","（0.5kN~50kN）","Urel=0.3%   (k=2)","中机试验装备股份有限公司"]
[174,"电子蠕变持久试验机","RDL50","20210393-35","（0.5kN~50kN）","Urel=0.3%   (k=2)","中机试验装备股份有限公司"]
[175,"电子蠕变松弛试验机","RDL50","20210337-1","（0.5kN~50kN）","Urel=0.3%   (k=2)","中机试验装备股份有限公司"]
[176,"电子蠕变松弛试验机","RDL50","20210337-2","（0.5kN~50kN）","Urel=0.3%   (k=2)","中机试验装备股份有限公司"]
[177,"电子蠕变松弛试验机","RDL50","20210337-3","（0.5kN~50kN）","Urel=0.3%   (k=2)","中机试验装备股份有限公司"]
[178,"电子蠕变松弛试验机","RDL50","20210337-4","（0.5kN~50kN）","Urel=0.3%   (k=2)","中机试验装备股份有限公司"]
[179,"机械蠕变持久试验机","RDJ50","20210395-1","（0.5kN~50kN）","Urel=0.3%   (k=2)","中机试验装备股份有限公司"]
[180,"机械蠕变持久试验机","RDJ50","20210395-2","（0.5kN~50kN）","Urel=0.3%   (k=2)","中机试验装备股份有限公司"]
[181,"机械蠕变持久试验机","RDJ50","20210395-3","（0.5kN~50kN）","Urel=0.3%   (k=2)","中机试验装备股份有限公司"]
[182,"机械蠕变持久试验机","RDJ50","20210395-4","（0.5kN~50kN）","Urel=0.3%   (k=2)","中机试验装备股份有限公司"]
[183,"机械蠕变持久试验机","RDJ50","20210395-5","（0.5kN~50kN）","Urel=0.3%   (k=2)","中机试验装备股份有限公司"]
[184,"机械蠕变持久试验机","RDJ50","20210395-6","（0.5kN~50kN）","Urel=0.3%   (k=2)","中机试验装备股份有限公司"]
[185,"机械蠕变持久试验机","RDJ50","20210395-7","（0.5kN~50kN）","Urel=0.3%   (k=2)","中机试验装备股份有限公司"]
[186,"机械蠕变持久试验机","RDJ50","20210395-8","（0.5kN~50kN）","Urel=0.3%   (k=2)","中机试验装备股份有限公司"]
[187,"机械蠕变持久试验机","RDJ50","20210395-9","（0.5kN~50kN）","Urel=0.3%   (k=2)","中机试验装备股份有限公司"]
[188,"机械蠕变持久试验机","RDJ50","20210395-10","（0.5kN~50kN）","Urel=0.3%   (k=2)","中机试验装备股份有限公司"]
[189,"机械蠕变持久试验机","RDJ50","20210395-16","（0.5kN~50kN）","Urel=0.3%   (k=2)","中机试验装备股份有限公司"]
[190,"机械蠕变持久试验机","RDJ50","20210395-17","（0.5kN~50kN）","Urel=0.3%   (k=2)","中机试验装备股份有限公司"]
[191,"机械蠕变持久试验机","RDJ50","20210395-18","（0.5kN~50kN）","Urel=0.3%   (k=2)","中机试验装备股份有限公司"]
[192,"机械蠕变持久试验机","RDJ50","20210395-19","（0.5kN~50kN）","Urel=0.3%   (k=2)","中机试验装备股份有限公司"]
[193,"机械蠕变持久试验机","RDJ50","20210395-20","（0.5kN~50kN）","Urel=0.3%   (k=2)","中机试验装备股份有限公司"]
[194,"微机控制旋转弯曲疲劳试验机","XWP-100W",220119,"900MPa","标称力臂： U=0.02mm k=2\n同轴度：U=5μm  k=2\n径向跳动：U=8μm  k=2\n最高转速：U=0.2%  k=2","济南胜工试验机有限公司"]
[195,"微机控制旋转弯曲疲劳试验机","XWP-100W",221109,"900MPa","标称力臂： U=0.02mm k=2\n同轴度：U=5μm  k=2\n径向跳动：U=8μm  k=2\n最高转速：U=0.2%  k=2","济南胜工试验机有限公司"]
[196,"微机控制旋转弯曲疲劳试验机","XWP-100W",221108,"900MPa","标称力臂： U=0.02mm k=2\n同轴度：U=5μm  k=2\n径向跳动：U=8μm  k=2\n最高转速：U=0.2%  k=2","济南胜工试验机有限公司"]
[197,"卧式拉力试验机","WL-5000","/","5MN","Urel=0.3%   (k=2)","长春机械科学研究院有限公司"]
[198,"落锤冲击试验机","LC-300B","2015157","(0.250~10.00)kg","/","承德精密试验机有限公司"]
[199,"压剪试验机","YJZ-10000-Y","2015056","（50kN~10MN)","Urel=0.3%   (k=2)","长春机械科学研究院有限公司"]
[200,"100kN普通直线伺服作动器","SDS100","19012-1","±（20~100）kN","Urel=0.3%   (k=2)","中机思美迪科技有限公司"]
[201,"100kN普通直线伺服作动器","SDS100","19012-2","±（20~100）kN","Urel=0.3%   (k=2)","中机思美迪科技有限公司"]
[202,"100kN普通直线伺服作动器","SDS100","19012-3","±（20~100）kN","Urel=0.3%   (k=2)","中机思美迪科技有限公司"]
[203,"100kN普通直线伺服作动器","SDS100","19012-4","±（20~100）kN","Urel=0.3%   (k=2)","中机思美迪科技有限公司"]
[204,"1000Nm疲劳试验台","1000Nm","17456","±（100~1000）Nm","扭矩：Urel = 0.3%  k=2\n角度：U=0.5° k=2","中机思美迪（长春）科技有限公司"]
[205,"20Nm疲劳试验台","TCF","240008","±（2~20）Nm","Urel=0.3%   (k=2)","中机检测有限公司"]
[206,"卧式疲劳试验机","SDS1500","20190868","（100~1500）kN","Urel=0.3%   (k=2)","长春机械科学研究院有限公司"]
[207,"盐雾试验机","CX-8034","1608784","（0~99.9)℃ (1~2)mL/(h•80cm2)","U=0.3mL/(h•80cm2) (k=2)","昆山创新科技检测仪器有限公司"]
[208,"盐雾试验机","CX-8034","1608785","（0~99.9)℃ (1~2)mL/(h•80cm2)","U=0.3mL/(h•80cm2) (k=2)","昆山创新科技检测仪器有限公司"]
[209,"冲击试验机","JB-30B",142,"/","U=2.4J k=2","吴忠材料试验机厂"]
[210,"1000kN疲劳试验机","1000kN",20210115,"1000kN"," Urel=0.3% （k=2）","中机试验装备股份有限公司"]
[211,"1000Nm疲劳试验台","NP1000",20220710,"/","扭矩：Urel=0.3%，k=2\n转角：Urel=0.3%，k=2","中机试验装备股份有限公司"]
[212,"1000Nm疲劳试验台","NP1000",20220711,"/","扭矩：Urel=0.3%，k=2\n转角：Urel=0.3%，k=2","中机试验装备股份有限公司"]
[213,"5000Nm疲劳试验台","NP-5000",2022012545,"/","扭矩：Urel=0.3%，k=2\n转角：Urel=0.3%，k=2","中机试验装备股份有限公司"]
[214,"电液伺服疲劳试验机","SDZ-1000","ZY238027F","/","试验力：Urel=0.3%（k=2）\n位移：Urel=0.3%（k=2）","中机试验装备股份有限公司"]